## Лист1
Відомість № 1.1
ОПТ №
ВІДОМІСТЬ СТАВОК ТА ЦІН
ВІДОМІСТЬ № 1.1 - ОБЛАДНАННЯ ДЛЯ ІТП, ТИП 1
№ згідно зі схемою | Найменування обладнання | Одиниця виміру | К-сть | DN, мм | Виробник | Ціна за одиницю за умовами DAP, євро | Загальна сума за позицією, євро
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
Тепломеханічна частина
1 | Flanged full bore ball valve, PN16, type 11с36п
3 | Flanged mud trap EI-FG, PN16
2 | Flanged screen filter, PN16, type 821А
4 | Flanged full bore ball valve (heating system), PN16, type 11с36п
18 | Flanged full bore ball valve (HWS), PN16,type 11с36п
5.1 | Electrical drive of the control valve (heating system) AMV20
5.2 | Two-way control valve, pressure balanced (heating system) VB2
6 | Pressure difference regulating valve with impulse tubes (heating system) AVP or AFP-9 VFG 2 (DN50 and above)
20.1 | Electrical drive of the control valve (HWS) AMV33 for Danfoss or Belimo NV 230-3 for LDM
20.2 | Two-way control valve, pressure balanced (HWS) VB2 (DN15-DN50) or RV113R (DN65 and above)
21 | Pressure difference regulating valve with impulse tubes (HWS) AVP (DN15-DN50) or AFP-9 VFG 2 (DN65 and above)
7 | Heat meter (heating system), SKS or existed
19 | Heat meter (HWS), SKS
32 | Plate-type heat exchanger of the HWS system
9 | Threaded ball valve, type FIV (DN15-32) or flanged full-bore valve, type 11с36п, PN16 (DN40 and above)
22 | Threaded ball valve type FIV (DN15-32) or flanged valve type T-0520 (for DN40) or КЗК 41нж, PN16 (DN50 and above)
23 | Threaded ball valve type FIV (DN15-32) or flanged valve type T-0520 (for DN40) or КЗК 41нж, PN16 (DN50 and above)
10 | Threaded ball valve, type FIV (DN15-32) or flanged full-bore valve, type 11с36п, PN16 (DN40 and above)
39 | Threaded ball valve DN20, type FIV
40 | Threaded ball valve DN15, type FIV
41 | Threaded three-way valve DN15 (Art.101112) Skloplylad (for manometers)
11 | Threaded screen filter IVR 924 (DN15-32) or flanged screen filter Zetkama 821A (DN40 and above)
24 | Threaded screen filter IVR 924 (DN15-32) or flanged screen filter Zetkama 821A (DN40 and above)
25 | Threaded screen filter IVR 924 (DN15-32) or flanged screen filter Zetkama 821A (DN40 and above)
8 | Threaded check valve type 999/H (DN15-32)or interflanged check valve type 656 (DN40 and above)
12 | Threaded check valve type 999/H (DN15-32)or interflanged check valve type 656 (DN40 and above)
26 | Threaded check valve type 999/H (DN15-32)or interflanged check valve type 656 (DN40 and above)
27 | Threaded check valve type 999/H (DN15-32)or interflanged check valve type 656 (DN40 and above)
17 | Threaded vibration damper type AB-G (DN15 - 32) or flanged vibration damper type АВ-Е (DN40 and above)
28 | Threaded vibration damper type AB-G (DN15 - 32) or flanged vibration damper type АВ-Е (DN40 and above)
29 | Threaded vibration damper type AB-G (DN15 - 32) or flanged vibration damper type АВ-Е (DN40 and above)
13 | Threaded safety valve IVR 369, 1-12 bar
14 | Circulation pump of the heating system
31 | Circulation pump of the HWS system
16 | Threaded balancing valve Zetkama 221Н (DN15-32) or flanged balancing valve Zetkama 447 (DN40 and above)
15, 33 | Automatic air vent, DN15
30 | Threaded cold water flow meter with pulsed output type JS NK (DN15 - 32) or flanged type MWN NK (DN40 and above)
34 | Electromagnetic water treatment device, EZV
35 | Bimetallic thermometer, type ТБ 80 (0-150°С)
36 | Bimetallic thermometer, type ТБ 80 (0-120°С)
37 | Indicating pressure gauge (0-1,6 МPa)
38 | Indicating pressure gauge (0-1,0 MPa)
43 | Pressure relay PSM01
42 | Pressure sensor A-10 with the radiator
44 | Water temperature sensor, embedded
45 | Ambient air temperature sensor
Загальна вартість, євро